## SLF vs EP
Comparison 2021 of Revenue Requirement Allocations
|  | Revenue Requirement (i) |  |  |  | Average | Revenue Requirement (ii) |  |  |  | Average
| Sales(i) | Demand(ii) | Energy | Total |  | Unit Cost | Demand | Energy | Total |  | Unit Cost
| (MWh) | ($ Millions) | ($ Millions) | ($ Millions) | % | (cents/kWh) | ($ Millions) | ($ Millions) | ($ Millions) | % | (cents/kWh)
| (A) | [5 empty] | (B) | (C) | (D) = (B+C) | E=(D/Total) | F = (D/A)
2021 Recommended Approach (Equivalent Peaker) (iii)
Newfoundland Power | 5833600 | 317307.5709 | 558204.3652 | 875511.9361 | 82.49% | 15.01 | 341598.7012 | 600937.0834 | 942535.7846 | 91.07% | 16.16
Industrial | 743300 | 21358.5548 | 71104.5821 | 92463.1369 | 8.712% | 12.44 | 21358.5548 | 71104.5821 | 92463.1369 | 8.934% | 12.44
Rural | 413404.597 | 49675.2801 | 43666.7918 | 93342.0719 | 8.795% | 22.58
Total | 6990304.597 | 388341.4058 | 672975.7391 | 1061317.1449 |  |  | 362957.256 | 672041.6655 | 1034998.9215
2021 Alternative Approach (System Load Factor)(iv)
Newfoundland Power | 5833600 | 467386.6079 | 416301.67 | 883688.2779 | 83.26% | 15.15 | 502393.0862 | 447481.9716 | 949875.0578 | 91.83% | 16.28
Industrial | 743300 | 31515.7991 | 53032.9141 | 84548.7132 | 7.966% | 11.37 | 31515.7991 | 53032.9141 | 84548.7132 | 8.174% | 11.37
Rural | 413404.597 | 60510.8182 | 32570.3559 | 93081.1741 | 8.77% | 22.52
Total | 6990304.597 | 559413.2252 | 501904.94 | 1061318.1652 |  |  | 533908.8853 | 500514.8857 | 1034423.771
Notes
(i) Taken from Schedule 1.3.2 Page 1 of 3 Column 3
(ii) Taken from Schedule 1.3.1 Page 1 of 3 Columns 7 and 8
(iii) Equivalent Peaker has MF Generation Costs, Exports Revenue, and LTA and LIL Costs classified as Equivalent Peaker
(iv) System Load Factor has MF Generation Costs, Exports Revenue, and LTA and LIL Costs classified as System Load Factor