## NP All-electric GS
Dependent Variable: AEGSS | Newfoundland Power General Service load for customers with electric heat. (GWh)
Method: Least Squares | [6 empty] | Data Series - Reference Case Forecast
Date: 06/05/23 Time: 14:09 | [6 empty] | AEGSS | GDPADJ2012 | COMINVSUM | DDAY | TIMEAEGS | DUM76R | NPCDMGS
Sample: 1970 2022 | [5 empty] | 1970 | 133.7 | 11096 | 3184.1 | 4721.2998 | 4 | 0 | 0
Included observations: 53 | [5 empty] | 1971 | 154.7 | 11427 | 3573.1 | 4702.1001 | 5 | 0 | 0
[6 empty] | 1972 | 184.5 | 10900 | 3871.2 | 5396.1001 | 6 | 0 | 0
[6 empty] | 1973 | 219.9 | 12034 | 4202.3 | 4840 | 7 | 0 | 0
[6 empty] | 1974 | 264.4 | 12913 | 4599.6 | 5259 | 8 | 0 | 0
Variable | Coefficient | Std. Error | t-Statistic | Prob. |  | 1975 | 313 | 13029 | 4952.8 | 5163.6001 | 9 | 0 | 0
[6 empty] | 1976 | 364.6 | 14018 | 5290.4 | 4913.3999 | 10 | 1 | 0
C | -123.5247 | 20.8754 | -5.9172 | 0 |  | 1977 | 385.8 | 14298 | 5672.1 | 4861.7998 | 11 | 1 | 0
GDPADJ2012 | 0.011249 | 0.002009 | 5.5998 | 0 |  | 1978 | 430.4 | 14073 | 6031.8 | 5116.7002 | 12 | 1 | 0
COMINVSUM(-1)-.02*COMINVSUM(-2) | 0.033787 | 0.00324 | 10.428 | 0 |  | 1979 | 462.8 | 15200 | 6387.7 | 4607.2998 | 13 | 1 | 0
DDAY*TIMEAEGS | 0.00235 | 0.000236 | 9.9567 | 0 |  | 1980 | 504.3 | 14873 | 6623.2 | 5107.8999 | 14 | 1 | 0
NPCDMGS | -3.0468 | 0.45589 | -6.6831 | 0 |  | 1981 | 502.2 | 15452 | 6870.6 | 4429.2998 | 15 | 1 | 0
DUM76R | 68.8901 | 9.5012 | 7.2507 | 0 |  | 1982 | 553.9 | 15543 | 7105.1 | 5094.7998 | 16 | 1 | 0
[6 empty] | 1983 | 542.2 | 16069 | 7333.9 | 4613.3999 | 17 | 1 | 0
R-squared | 0.99855 |  |  |  |  | 1984 | 593.1 | 16561 | 7591.9 | 4800.2002 | 18 | 1 | 0
Adjusted R-squared | 0.99839 |  |  |  |  | 1985 | 637.2 | 16921 | 7883.8 | 5256.2002 | 19 | 1 | 0
S.E. of regression | 15.6842 |  |  |  |  | 1986 | 639.2 | 16961 | 8225 | 5081.8999 | 20 | 1 | 0
F-statistic | 6462.145 |  |  |  |  | 1987 | 648.7 | 17602 | 8702.9 | 4901.5 | 21 | 1 | 0
[6 empty] | 1988 | 696.2 | 18498 | 9095 | 4799.8999 | 22 | 1 | 0
[6 empty] | 1989 | 742.3 | 19192 | 9443.5 | 4993.5 | 23 | 1 | 0
[6 empty] | 1990 | 775 | 19281 | 9762.9 | 5001.2998 | 24 | 1 | 0
[6 empty] | 1991 | 784 | 19372 | 10059.7 | 5205.8999 | 25 | 1 | 0
[6 empty] | 1992 | 807 | 18987 | 10349.1 | 5344 | 26 | 1 | 0
[6 empty] | 1993 | 836 | 19257 | 10593.3 | 5243 | 27 | 1 | 0
[6 empty] | 1994 | 865 | 20012 | 10880.4 | 4990 | 28 | 1 | 0
Variable Descriptions | [5 empty] | 1995 | 878 | 20656 | 11062.3 | 5006 | 29 | 1 | 0
C | Intercept |  |  |  |  | 1996 | 887 | 19682 | 11266.9 | 4704 | 30 | 1 | 0
GDPADJ2012 | NL Gross Domestic Product. Adjusted GDP excludes production related income earned by the non-resident owners of mining, oil and gas projects to better reflect growth in economic activity that generates income for residents. It is measured using constant $2012 at basic prices. |  |  |  |  | 1997 | 871.4 | 19908 | 11562 | 5107 | 31 | 1 | 0
COMINVSUM | Cumulative Value of Provincial building investment (2012$) |  |  |  |  | 1998 | 866 | 19839 | 11899.2 | 4601 | 32 | 1 | 0
DDAY | Weighted Island heating degree days. |  |  |  |  | 1999 | 890.9 | 20167 | 12370.6 | 4226 | 33 | 1 | 0
DUM76R | Dummy to account for customer transfer from NLH to NP in 1976. |  |  |  |  | 2000 | 935.2 | 19667 | 12804.8 | 4524 | 34 | 1 | 0
TIMEAEGS | Linear trend variable beginning in 1967. |  |  |  |  | 2001 | 979.4 | 19657 | 13294 | 4677 | 35 | 1 | 0
NPCDMGS | Cumulative GWh savings from CDM programs. |  |  |  |  | 2002 | 1009.1 | 18443 | 13667.5 | 4934 | 36 | 1 | 0
AEGSS | Newfoundland Power General Service load for customers with electric heat. (GWh) |  |  |  |  | 2003 | 1028.8 | 18277 | 13999.9 | 4711 | 37 | 1 | 0
[6 empty] | 2004 | 1033.3 | 18938 | 14324.9 | 4690 | 38 | 1 | 0
[6 empty] | 2005 | 1055.4 | 19358 | 14661.3 | 4561 | 39 | 1 | 0
[6 empty] | 2006 | 1061 | 19549 | 15025.9 | 4288.7 | 40 | 1 | 0
[6 empty] | 2007 | 1126.3 | 19448 | 15378 | 4825.4 | 41 | 1 | 0
[6 empty] | 2008 | 1151.8 | 20391 | 15766.5 | 4586.3 | 42 | 1 | 0
[6 empty] | 2009 | 1175.5 | 20579 | 16240.8 | 4574.8 | 43 | 1 | 0.2
[6 empty] | 2010 | 1159.7 | 21448 | 16850.4 | 4247.5 | 44 | 1 | 0.9
[6 empty] | 2011 | 1217 | 22536 | 17679 | 4567.7 | 45 | 1 | 2.2
[6 empty] | 2012 | 1246.5 | 23885 | 18507.4 | 4254.8 | 46 | 1 | 3
[6 empty] | 2013 | 1302.2 | 24485 | 19370.8 | 4574.4 | 47 | 1 | 3.5
[6 empty] | 2014 | 1406.1 | 25088 | 20204.9 | 4842.2 | 48 | 1 | 5.9
[6 empty] | 2015 | 1435.6 | 25747 | 20902.8 | 5011.2 | 49 | 1 | 9.6
[6 empty] | 2016 | 1430.3 | 24664 | 21535.7 | 4650.2 | 50 | 1 | 12.4
[6 empty] | 2017 | 1451.9 | 24024 | 22048.3 | 4678 | 51 | 1 | 20.6
[6 empty] | 2018 | 1445.5 | 23434 | 22637.6 | 4778.9 | 52 | 1 | 27.5
[6 empty] | 2019 | 1480.1 | 23193 | 23285.7 | 4923.3 | 53 | 1 | 35.2
[6 empty] | 2020 | 1390 | 20832 | 23911.4 | 4577.3 | 54 | 1 | 41.1
[6 empty] | 2021 | 1366.763 | 21900 | 24527.686 | 4294.8 | 54 | 1 | 44.9
[6 empty] | 2022 | 1419.196 | 22593 | 25126.63 | 4257.5 | 54 | 1 | 48.279
[5 empty] | Forecast | 2023 |  | 23101 | 25786.961 | 4651 | 54 | 1 | 49.6
[5 empty] | Forecast | 2024 |  | 22963 | 26411.528 | 4642 | 54 | 1 | 52.2
[5 empty] | Forecast | 2025 |  | 23495 | 27027.079 | 4634 | 54 | 1 | 55
[5 empty] | Forecast | 2026 |  | 23654 | 27606.259 | 4625 | 54 | 1 | 57.8
[5 empty] | Forecast | 2027 |  | 23607 | 28186.623 | 4616 | 54 | 1 | 60.6
[5 empty] | Forecast | 2028 |  | 23946 | 28769.779 | 4608 | 54 | 1 | 63.3
[5 empty] | Forecast | 2029 |  | 24036 | 29352.181 | 4599 | 54 | 1 | 64.3
[5 empty] | Forecast | 2030 |  | 23401 | 29933.772 | 4591 | 54 | 1 | 65.3
[5 empty] | Forecast | 2031 |  | 23003 | 30513.289 | 4582 | 54 | 1 | 66.3
[5 empty] | Forecast | 2032 |  | 23551 | 31091.848 | 4573 | 54 | 1 | 67.2
[5 empty] | Forecast | 2033 |  | 24024 | 31668.921 | 4565 | 54 | 1 | 68.2
[5 empty] | Forecast | 2034 |  | 24250 | 32244.569 | 4556 | 54 | 1 | 69.2
[5 empty] | Source: | History: | NP | NL Gov, Dept. of Finance | Statistic's Canada | Environment Canada | NLH | NLH | NP
[6 empty] | Forecast: | Model Output | Dervived from an economic forecast from NL Gov, Dept. of Finance | NL Gov, Dept. of Finance | NLH | NLH | NLH | 5 year forecast is based on Newfoundland Power's CDM forecast; Post 5 years is based on historical CDM program savings
Accelerated Decarbonization Case -Forecast Values Used as Inputs
[8 empty] | GDPADJ2012 | COMINVSUM | DDAY | TIMEAEGS | DUM76R | NPCDMGS
[5 empty] | Forecast | 2023 |  | 23118 | 25787.135 | 4651 | 54 | 1 | 49.6
[5 empty] | Forecast | 2024 |  | 23287 | 26412.313 | 4642 | 54 | 1 | 52.2
[5 empty] | Forecast | 2025 |  | 23819 | 27029.494 | 4634 | 54 | 1 | 55
[5 empty] | Forecast | 2026 |  | 23978 | 27610.827 | 4625 | 54 | 1 | 57.8
[5 empty] | Forecast | 2027 |  | 23577 | 28194.045 | 4616 | 54 | 1 | 60.6
[5 empty] | Forecast | 2028 |  | 24107 | 28780.932 | 4608 | 54 | 1 | 63.3
[5 empty] | Forecast | 2029 |  | 24112 | 29368.462 | 4599 | 54 | 1 | 64.3
[5 empty] | Forecast | 2030 |  | 23317 | 29956.418 | 4591 | 54 | 1 | 65.3
[5 empty] | Forecast | 2031 |  | 22886 | 30543.758 | 4582 | 54 | 1 | 66.3
[5 empty] | Forecast | 2032 |  | 23408 | 31131.423 | 4573 | 54 | 1 | 67.2
[5 empty] | Forecast | 2033 |  | 23873 | 31718.933 | 4565 | 54 | 1 | 68.2
[5 empty] | Forecast | 2034 |  | 23881 | 32306.804 | 4556 | 54 | 1 | 69.2
Slow Decarbonization Case -Forecast Values Used as Inputs
[8 empty] | GDPADJ2012 | COMINVSUM | DDAY | TIMEAEGS | DUM76R | NPCDMGS
[5 empty] | Forecast | 2023 |  | 23101 | 25799.239 | 4651 | 54 | 1 | 49.78
[5 empty] | Forecast | 2024 |  | 22963 | 26388.591 | 4642 | 54 | 1 | 52.06
[5 empty] | Forecast | 2025 |  | 23495 | 26970.134 | 4634 | 54 | 1 | 54.61
[5 empty] | Forecast | 2026 |  | 23654 | 27548.712 | 4625 | 54 | 1 | 55.5
[5 empty] | Forecast | 2027 |  | 23607 | 28127.145 | 4616 | 54 | 1 | 56.16
[5 empty] | Forecast | 2028 |  | 23946 | 28705.107 | 4608 | 54 | 1 | 56.66
[5 empty] | Forecast | 2029 |  | 24036 | 29283.372 | 4599 | 54 | 1 | 56.99
[5 empty] | Forecast | 2030 |  | 23401 | 29861.83 | 4591 | 54 | 1 | 57.32
[5 empty] | Forecast | 2031 |  | 23003 | 30440.495 | 4582 | 54 | 1 | 57.49
[5 empty] | Forecast | 2032 |  | 23551 | 31019.416 | 4573 | 54 | 1 | 57.65
[5 empty] | Forecast | 2033 |  | 24024 | 31598.489 | 4565 | 54 | 1 | 57.82
[5 empty] | Forecast | 2034 |  | 24250 | 32177.929 | 4556 | 54 | 1 | 57.98

## NP Domestic Average Use
Dependent Variable: NPAVDUSE | Average annual consumption for Newfoundland Power residential customer class (kWh). | [5 empty] | Data Series - Reference Case Forecast
Method: Least Squares | [6 empty] | NPAVDUSE | NPAEDCUST | NPTOTDCUST | AAEHTMPAT | HHDINC2002 | POPULATION | DUM82 | RSPDUM | TECHCGE09 | DDAY
Date: 06/04/23 Time: 14:02 | [5 empty] | 1977 | 11525 | 34015 | 122870 | 5.98 | 5786.4 | 565348 | 0 | 0 | 0 | 4861.7998
Sample: 1977 2022 | [5 empty] | 1978 | 11819 | 36832 | 125721 | 6.7 | 5888.8 | 567639 | 0 | 0 | 0 | 5116.7002
Included observations: 46 | [5 empty] | 1979 | 11561 | 39673 | 128780 | 6.96 | 6072.2 | 570075 | 0 | 0 | 0 | 4607.2998
[6 empty] | 1980 | 12080 | 42698 | 132020 | 6.94 | 5916.8 | 572759 | 0 | 0 | 0 | 5107.8999
Variable | Coefficient | Std. Error | t-Statistic | Prob. |  | 1981 | 11569 | 46139 | 135132 | 6.66 | 6229.8 | 575302 | 0 | 0 | 0 | 4429.2998
[6 empty] | 1982 | 12306 | 49074 | 137276 | 7.65 | 6311.1 | 573795 | 1 | 0 | 0 | 5094.7998
(NPAEDCUST/NPTOTDCUST)*DDAY^2 | 0.000295 | 2.11e-05 | 13.9719 | 0 |  | 1983 | 11953 | 52484 | 140668 | 7.8 | 6117 | 579164 | 0 | 0 | 0 | 4613.3999
NPAEDCUST/NPTOTDCUST | 10956.51 | 794.827 | 13.7848 | 0 |  | 1984 | 12485 | 56119 | 143707 | 8.12 | 6222.4 | 580065 | 0 | 0 | 0 | 4800.2002
AAEHTMPAT(-1) | -510.5399 | 58.5558 | -8.7189 | 0 |  | 1985 | 13076 | 59833 | 146655 | 9.25 | 6472.8 | 579275 | 0 | 0 | 0 | 5256.2002
HHDINC2002*1E6/NPTOTDCUST | 0.073854 | 0.008757 | 8.4337 | 0 |  | 1986 | 13091 | 63465 | 149771 | 8.73 | 6706.7 | 576306 | 0 | 1 | 0 | 5081.8999
POPULATION | 0.010695 | 0.000756 | 14.1553 | 0 |  | 1987 | 13088 | 67026 | 153075 | 8.44 | 7268.4 | 575242 | 0 | 1 | 0 | 4901.5
DUM82 | -480.2254 | 183.5915 | -2.6157 | 0.0127 |  | 1988 | 13584 | 71016 | 156907 | 8.29 | 7761.9 | 574982 | 0 | 1 | 0 | 4799.8999
RSPDUM | 297.4724 | 131.3293 | 2.2651 | 0.0293 |  | 1989 | 14354 | 74668 | 160537 | 7.74 | 8011.8 | 576551 | 0 | 1 | 0 | 4993.5
TECHCGE09 | -209.4821 | 12.0844 | -17.3349 | 0 |  | 1990 | 15089 | 77880 | 164019 | 7.66 | 8054.1 | 577368 | 0 | 1 | 0 | 5001.2998
[6 empty] | 1991 | 15331 | 80608 | 167217 | 8.12 | 7966.8 | 579644 | 0 | 1 | 0 | 5205.8999
R-squared | 0.98695 |  |  |  |  | 1992 | 15468 | 83023 | 170418 | 8.15 | 8132.5 | 580109 | 0 | 1 | 0 | 5344
Adjusted R-squared | 0.98455 |  |  |  |  | 1993 | 15402 | 85260 | 172942 | 8.06 | 8091.1 | 579977 | 0 | 1 | 0 | 5243
S.E. of regression | 170.5314 |  |  |  |  | 1994 | 14974 | 87495 | 175797 | 7.99 | 8251.7 | 574466 | 0 | 1 | 0 | 4990
[6 empty] | 1995 | 14732 | 89731 | 177431 | 7.88 | 8037.1 | 567397 | 0 | 1 | 0 | 5006
[6 empty] | 1996 | 14440 | 91967 | 179375 | 7.77 | 7867.3 | 559698 | 0 | 1 | 0 | 4704
[6 empty] | 1997 | 14934 | 94785 | 181168 | 8.23 | 7669.6 | 550911 | 0 | 1 | 0 | 5107
[6 empty] | 1998 | 14114 | 96106 | 182324 | 8.36 | 7765.4 | 539843 | 0 | 1 | 0 | 4601
[6 empty] | 1999 | 13641 | 96747 | 183921 | 8.3 | 8084.2 | 533329 | 0 | 1 | 0 | 4226
[6 empty] | 2000 | 13975 | 98405 | 185287 | 8.119 | 8149.1 | 527966 | 0 | 1 | 0 | 4524
[6 empty] | 2001 | 14537 | 100483 | 186828 | 7.962 | 8548.6 | 522046 | 0 | 1 | 0 | 4677
Variable Descriptions | [5 empty] | 2002 | 15033 | 103070 | 188925 | 7.817 | 8671 | 519481 | 0 | 1 | 0 | 4934
[6 empty] | 2003 | 15000 | 106137 | 191314 | 7.893 | 8638.5 | 518459 | 0 | 1 | 0 | 4711
NPAEDCUST | Newfoundland Power residential customers coded as electric heat. |  |  |  |  | 2004 | 14874 | 109553 | 193912 | 8.344 | 8635.5 | 517423 | 0 | 1 | 0 | 4690
NPTOTDCUST | Newfoundland Power total residential customers. |  |  |  |  | 2005 | 14689 | 112693 | 196412 | 8.786 | 8597.6 | 514332 | 0 | 1 | 0 | 4561
AAEHTMPAT | After tax marginal electricity price $2002 - Island interconnected system. |  |  |  |  | 2006 | 14116 | 115557 | 198568 | 9.085 | 9157.1 | 510592 | 0 | 1 | 0 | 4288.7
HHDINC2002 | Household disposable income (2002$) |  |  |  |  | 2007 | 15029 | 118770 | 201045 | 9.018 | 9835.3 | 509055 | 0 | 1 | 0 | 4825.4
POPULATION | NL population |  |  |  |  | 2008 | 15096 | 122928 | 204204 | 9.226 | 10364 | 511581 | 0 | 1 | 0 | 4586.3
DUM82 | Dummy varaible to account for 1982 recession impact. |  |  |  |  | 2009 | 15353 | 127038 | 207335 | 9.141 | 11110.8 | 516751 | 0 | 1 | 1 | 4574.8
RSPDUM | Dummy varaible to account for implementation of rate stabilization plan in 1986. |  |  |  |  | 2010 | 15021 | 131745 | 211091 | 9.073 | 11434.41 | 522009 | 0 | 1 | 2 | 4247.5
TECHCGE09 | Initially, a linear trend variable to capture technology changes and efficiency changes beginning in 2009. More recently adapted to try to better incorporate impacts due to mini-split heat pump technology including forecast estimates of the uptake of this new technology. |  |  |  |  | 2011 | 15529 | 135994 | 214515 | 9.134 | 11813.84 | 524999 | 0 | 1 | 3 | 4567.7
DDAY | Weighted Island heating degree days. |  |  |  |  | 2012 | 15155 | 140701 | 218290 | 9.145 | 12357.55 | 526345 | 0 | 1 | 4 | 4254.8
[6 empty] | 2013 | 15652 | 145446 | 221995 | 9.214 | 12738.89 | 527114 | 0 | 1 | 5 | 4574.4
[6 empty] | 2014 | 16479 | 149238 | 224824 | 9.046 | 12903.43 | 528159 | 0 | 1 | 6 | 4842.2
[6 empty] | 2015 | 16522 | 153884 | 227455 | 9.181 | 13166.67 | 528117 | 0 | 1 | 7 | 5011.2
[6 empty] | 2016 | 15813 | 158200 | 229815 | 8.725 | 12604.53 | 529426 | 0 | 1 | 8 | 4650.2
[6 empty] | 2017 | 15904 | 162190 | 231639 | 8.615 | 12426.68 | 528249 | 0 | 1 | 9 | 4678
[6 empty] | 2018 | 15659 | 165655 | 233104 | 9.174 | 12430.75 | 525560 | 0 | 1 | 10 | 4778.9
[6 empty] | 2019 | 15674 | 168730 | 234132 | 9.573 | 12525.48 | 523427 | 0 | 1 | 11 | 4923.3
[6 empty] | 2020 | 15020 | 171044 | 235260 | 10.053 | 12848.85 | 521359 | 0 | 1 | 11.598 | 4577.3
[6 empty] | 2021 | 14080 | 173132 | 236796 | 9.825 | 13329.65 | 520452 | 0 | 1 | 12.323 | 4294.8
[6 empty] | 2022 | 14564 | 175470 | 238353 | 9.255 | 13541.94 | 525972 | 0 | 1 | 13.254 | 4257.5
[5 empty] | Forecast | 2023 |  | 178775.2 | 239793.2 | 9.1478 | 13623.27 | 531105 | 0 | 0 | 13.86 | 4651
[5 empty] | Forecast | 2024 |  | 182598.3 | 241444.6 | 9.5511 | 13648.19 | 532077 | 0 | 0 | 15.7 | 4642
[5 empty] | Forecast | 2025 |  | 186524 | 243222.5 | 9.8602 | 13775.18 | 533440 | 0 | 0 | 16.13 | 4634
[5 empty] | Forecast | 2026 |  | 190415.3 | 244965.7 | 9.9288 | 13871.77 | 533770 | 0 | 0 | 16.4 | 4625
[5 empty] | Forecast | 2027 |  | 193749.3 | 246603.8 | 9.9423 | 13996.21 | 534345 | 0 | 0 | 17.03 | 4616
[5 empty] | Forecast | 2028 |  | 196763.1 | 248250.1 | 9.9656 | 14230.13 | 535164 | 0 | 0 | 17.92 | 4608
[5 empty] | Forecast | 2029 |  | 199465.5 | 249884.1 | 9.9929 | 14428.33 | 536682 | 0 | 0 | 18.66 | 4599
[5 empty] | Forecast | 2030 |  | 202118.2 | 251496.7 | 10.0132 | 14619.27 | 538100 | 0 | 0 | 19.15 | 4591
[5 empty] | Forecast | 2031 |  | 203771.2 | 253069.6 | 10.0642 | 14626.14 | 539235 | 0 | 0 | 19.4 | 4582
[5 empty] | Forecast | 2032 |  | 205466.7 | 254694.4 | 10.1131 | 14846.45 | 540407 | 0 | 0 | 19.64 | 4573
[5 empty] | Forecast | 2033 |  | 207173.4 | 256337.6 | 10.1653 | 14977.01 | 541629 | 0 | 0 | 19.88 | 4565
[5 empty] | Forecast | 2034 |  | 208866.4 | 257971.7 | 10.2156 | 15014.7 | 542528 | 0 | 0 | 20.12 | 4556
[5 empty] | Source | History: | NP | NP | NP | NP | Statistic's Canada | Statistic's Canada | NLH | NLH | NLH | Environment Canada
[6 empty] | Forecast: | Model Output | Model Output | Model Output | NLH | NL Gov, Dept. of Finance | NL Gov, Dept. of Finance | NLH | NLH | NLH | NLH
Accelerated Decarbonization Case -Forecast Values Used as Inputs
[8 empty] | NPAEDCUST | NPTOTDCUST | AAEHTMPAT | HHDINC2002 | POPULATION | DUM82 | RSPDUM | TECHCGE09 | DDAY
[5 empty] | Forecast | 2023 |  | 178760.3 | 239775.9 | 9.1478 | 13649.35 | 533756 | 0 | 0 | 13.86 | 4651
[5 empty] | Forecast | 2024 |  | 182681.4 | 241469.1 | 9.5511 | 13818.2 | 536186 | 0 | 0 | 15.7 | 4642
[5 empty] | Forecast | 2025 |  | 186700.7 | 243323.5 | 9.8602 | 14017.02 | 537857 | 0 | 0 | 16.13 | 4634
[5 empty] | Forecast | 2026 |  | 190702.5 | 245164.6 | 9.9288 | 14194.86 | 538984 | 0 | 0 | 16.4 | 4625
[5 empty] | Forecast | 2027 |  | 194533.6 | 246878.2 | 9.9423 | 14306.77 | 540529 | 0 | 0 | 17.03 | 4616
[5 empty] | Forecast | 2028 |  | 198298.4 | 248625.4 | 9.9656 | 14632.02 | 542277 | 0 | 0 | 17.92 | 4608
[5 empty] | Forecast | 2029 |  | 201957.6 | 250355.3 | 9.9874 | 14831.73 | 544408 | 0 | 0 | 18.66 | 4599
[5 empty] | Forecast | 2030 |  | 205503.8 | 252055.7 | 10.0132 | 15036.35 | 546509 | 0 | 0 | 19.15 | 4591
[5 empty] | Forecast | 2031 |  | 208961.7 | 253717.3 | 10.0589 | 15062.26 | 548258 | 0 | 0 | 19.4 | 4582
[5 empty] | Forecast | 2032 |  | 212380.8 | 255423.7 | 10.1079 | 15291.8 | 550151 | 0 | 0 | 19.64 | 4573
[5 empty] | Forecast | 2033 |  | 215738.6 | 257146.5 | 10.1601 | 15443.62 | 552247 | 0 | 0 | 19.88 | 4565
[5 empty] | Forecast | 2034 |  | 219045.9 | 258870.3 | 10.2104 | 15530.36 | 553827 | 0 | 0 | 20.12 | 4556
Slow Decarbonization Case -Forecast Values Used as Inputs
[8 empty] | NPAEDCUST | NPTOTDCUST | AAEHTMPAT | HHDINC2002 | POPULATION | DUM82 | RSPDUM | TECHCGE09 | DDAY
[5 empty] | Forecast | 2023 |  | 178487.4 | 239603.5 | 9.1478 | 13623.27 | 526983 | 0 | 0 | 13.89 | 4651
[5 empty] | Forecast | 2024 |  | 181593.5 | 240991.7 | 9.6848 | 13648.19 | 527771 | 0 | 0 | 15.76 | 4642
[5 empty] | Forecast | 2025 |  | 184585.3 | 242469.7 | 10.0658 | 13775.18 | 528605 | 0 | 0 | 16.22 | 4634
[5 empty] | Forecast | 2026 |  | 187442.2 | 243951.8 | 10.2062 | 13871.77 | 528914 | 0 | 0 | 16.71 | 4625
[5 empty] | Forecast | 2027 |  | 190131.3 | 245381.8 | 10.2915 | 13996.21 | 529564 | 0 | 0 | 17.41 | 4616
[5 empty] | Forecast | 2028 |  | 192724.3 | 246814.9 | 10.3877 | 14230.13 | 529956 | 0 | 0 | 18.6 | 4608
[5 empty] | Forecast | 2029 |  | 195259.4 | 248225.6 | 10.4889 | 14428.33 | 530916 | 0 | 0 | 19.16 | 4599
[5 empty] | Forecast | 2030 |  | 197736.5 | 249612.8 | 10.5836 | 14619.27 | 531738 | 0 | 0 | 19.98 | 4591
[5 empty] | Forecast | 2031 |  | 199168.5 | 250978.6 | 10.7119 | 14626.14 | 532318 | 0 | 0 | 20.29 | 4582
[5 empty] | Forecast | 2032 |  | 200623.4 | 252382.1 | 10.8391 | 14846.45 | 532803 | 0 | 0 | 20.6 | 4573
[5 empty] | Forecast | 2033 |  | 202089.4 | 253812.1 | 10.9712 | 14977.01 | 533314 | 0 | 0 | 20.92 | 4565
[5 empty] | Forecast | 2034 |  | 203549.7 | 255250.3 | 11.1024 | 15014.7 | 533609 | 0 | 0 | 21.23 | 4556

## NLH Rural Domestic Avg Use
Dependent Variable: TROAVDUSE | Average annual consumption for NLH Rural Island residential customer class (kWh).
Method: Least Squares | [6 empty] | Data Series - Reference Case Forecast
Date: 06/05/23 Time: 12:58 | [6 empty] | TROAVDUSE | DDAYSTV | TROALDOM | TROTOTDCUST | AAEHTMPAT | HHDINC2002 | NPTOTDCUST | EHWSRSCADJ | DUM06 | TECHCGE09
Sample: 1977 2022 | [5 empty] | 1977 | 9222 | 4882 | 1109 | 7513 | 5.98 | 5786.4 | 122870 | 54.8 | 0 | 0
Included observations: 46 | [5 empty] | 1978 | 9753 | 5071 | 1334 | 7723 | 6.7 | 5888.8 | 125721 | 59.1 | 0 | 0
[6 empty] | 1979 | 9707 | 4399 | 1521 | 7915 | 6.96 | 6072.2 | 128780 | 62 | 0 | 0
Variable | Coefficient | Std. Error | t-Statistic | Prob. |  | 1980 | 10120 | 4951 | 1713 | 8172 | 6.94 | 5916.8 | 132020 | 64.6 | 0 | 0
[6 empty] | 1981 | 9964 | 4285 | 1887 | 8348 | 6.66 | 6229.8 | 135132 | 67.1 | 0 | 0
C | 3280.854 | 621.9993 | 5.2747 | 0 |  | 1982 | 10621 | 5074 | 2135 | 9183 | 7.65 | 6311.1 | 137276 | 69.6 | 0 | 0
DDAYSTV*(TROALDOM/TROTOTDCUST) | 2.2164 | 0.22666 | 9.7785 | 0 |  | 1983 | 9744 | 4400 | 2422 | 10829 | 7.8 | 6117 | 140668 | 71.5 | 0 | 0
AAEHTMPAT(-1) | -328.8667 | 86.8607 | -3.7861 | 0.0005 |  | 1984 | 10094 | 4717 | 2708 | 11086 | 8.12 | 6222.4 | 143707 | 73 | 0 | 0
HHDINC2002*1E6/(NPTOTDCUST+TROTOTDCUST) | 0.10739 | 0.011765 | 9.1281 | 0 |  | 1985 | 10303 | 5178 | 2917 | 11179 | 9.25 | 6472.8 | 146655 | 76 | 0 | 0
EHWSRSCADJ | 31.8854 | 12.8361 | 2.484 | 0.0174 |  | 1986 | 10494 | 5092 | 3123 | 11368 | 8.73 | 6706.7 | 149771 | 78.2 | 0 | 0
TECHCGE09 | -47.7583 | 13.1004 | -3.6456 | 0.0008 |  | 1987 | 10422 | 4753 | 3370 | 12274 | 8.44 | 7268.4 | 153075 | 81.5 | 0 | 0
DUM06 | 13.3323 | 222.3702 | 0.059956 | 0.9525 |  | 1988 | 11157 | 4931 | 3746 | 12798 | 8.29 | 7761.9 | 156907 | 81.9 | 0 | 0
[6 empty] | 1989 | 11794 | 4999 | 4256 | 14284 | 7.74 | 8011.8 | 160537 | 82.1 | 0 | 0
R-squared | 0.96196 |  |  |  |  | 1990 | 12049 | 5116 | 4794 | 14532 | 7.66 | 8054.1 | 164019 | 82.6 | 0 | 0
Adjusted R-squared | 0.95611 |  |  |  |  | 1991 | 12277 | 5031 | 5188 | 14725 | 8.12 | 7966.8 | 167217 | 83.1 | 0 | 0
S.E. of regression | 210.4832 |  |  |  |  | 1992 | 12542 | 5395 | 5518 | 14936 | 8.15 | 8132.5 | 170418 | 83.6 | 0 | 0
F-statistic | 164.3829 |  |  |  |  | 1993 | 12500 | 5165 | 5884 | 15224 | 8.06 | 8091.1 | 172942 | 83.5 | 0 | 0
[6 empty] | 1994 | 12226 | 5075 | 6072 | 15366 | 7.99 | 8251.7 | 175797 | 84.2 | 0 | 0
[6 empty] | 1995 | 11746 | 4885 | 6231 | 15469 | 7.88 | 8037.1 | 177431 | 85 | 0 | 0
[6 empty] | 1996 | 11375 | 4631 | 6451 | 18839 | 7.77 | 7867.3 | 179375 | 85.9 | 0 | 0
[6 empty] | 1997 | 11292 | 5092 | 6580 | 18884 | 8.23 | 7669.6 | 181168 | 86.4 | 0 | 0
[6 empty] | 1998 | 10878.8 | 4468 | 6683 | 18856 | 8.36 | 7765.4 | 182324 | 86.2 | 0 | 0
[6 empty] | 1999 | 10905 | 4219 | 6731 | 18918 | 8.3 | 8084.2 | 183921 | 85.7 | 0 | 0
[6 empty] | 2000 | 11095 | 4515 | 6733 | 18975 | 8.119 | 8149.1 | 185287 | 84.6 | 0 | 0
[6 empty] | 2001 | 11148 | 4528 | 6720 | 18995 | 7.962 | 8548.6 | 186828 | 85 | 0 | 0
[6 empty] | 2002 | 11678 | 5028 | 6722 | 18971 | 7.817 | 8671 | 188925 | 86.2 | 0 | 0
Variable Descriptions | [5 empty] | 2003 | 11555 | 4702 | 6723 | 19021 | 7.893 | 8638.5 | 191314 | 85.8 | 0 | 0
C | Intercept |  |  |  |  | 2004 | 11497 | 4751 | 6699 | 19092 | 8.344 | 8635.5 | 193912 | 84.8 | 0 | 0
DDAYSTV | Heating degree days recorded at Stephenville airport. |  |  |  |  | 2005 | 11200 | 4507 | 6680 | 19126 | 8.786 | 8597.6 | 196412 | 85.7 | 0 | 0
TROALDOM | NLH rural interconnected residential customers coded as electric heat. |  |  |  |  | 2006 | 10883 | 4141.1 | 6698 | 19203 | 9.085 | 9157.1 | 198568 | 86.6 | 1 | 0
TROTOTDCUST | NLH rural interconnected total residential customers. |  |  |  |  | 2007 | 11485 | 4782.9 | 6705 | 19251 | 9.018 | 9835.3 | 201045 | 87.6 | 0 | 0
AAEHTMPAT | After tax marginal electricity price $2002 - Island interconnected system. |  |  |  |  | 2008 | 11625 | 4450.1 | 6752 | 19344 | 9.226 | 10364 | 204204 | 88.5 | 0 | 0
HHDINC2002 | Household disposable income (2002$) |  |  |  |  | 2009 | 11956 | 4695.4 | 7507 | 19375 | 9.141 | 11110.8 | 207335 | 88.8 | 0 | 1
NPTOTDCUST | Newfoundland Power total residential customers. |  |  |  |  | 2010 | 11630 | 4063.6 | 7692 | 19490 | 9.073 | 11434.41 | 211091 | 89 | 0 | 2
EHWSRSCADJ | Electric hot water saturation level |  |  |  |  | 2011 | 12324 | 4389.2 | 7822 | 19599 | 9.134 | 11813.84 | 214515 | 89.2 | 0 | 3
DUM06 (removed in 2024 modelling) | Dummy variable for 2006 |  |  |  |  | 2012 | 12284 | 4125.8 | 8062 | 19652 | 9.145 | 12357.55 | 218290 | 89.4 | 0 | 4
TECHCGE09 | Initially, a linear trend variable to capture technology changes and efficiency changes beginning in 2009. More recently adapted to try to better incorporate impacts due to mini-split heat pump technology including forecast estimates of the uptake of this new technology. |  |  |  |  | 2013 | 12712 | 4494.5 | 8132 | 19734 | 9.214 | 12738.89 | 221995 | 89.6 | 0 | 5
[6 empty] | 2014 | 13071 | 4690.6 | 8344 | 19835 | 9.046 | 12903.43 | 224824 | 89.8 | 0 | 6
[6 empty] | 2015 | 13162 | 4914.8 | 8409 | 19869 | 9.181 | 13166.67 | 227455 | 90 | 0 | 7
[6 empty] | 2016 | 12925 | 4658 | 8439 | 19862 | 8.725 | 12604.53 | 229815 | 90 | 0 | 8
[6 empty] | 2017 | 12784 | 4572 | 8450 | 19852 | 8.615 | 12426.68 | 231639 | 90.2 | 0 | 9
[6 empty] | 2018 | 12674 | 4791.9 | 8478 | 19904 | 9.174 | 12430.75 | 233104 | 90.4 | 0 | 10
[6 empty] | 2019 | 12568 | 4959.7 | 8476 | 19902 | 9.573 | 12525.48 | 234132 | 90.6 | 0 | 11
[6 empty] | 2020 | 12038 | 4650.6 | 8511 | 19945 | 10.053 | 12848.85 | 235260 | 90.8 | 0 | 11.598
[6 empty] | 2021 | 11515 | 4212.1 | 8479 | 19853 | 9.825 | 13329.65 | 236796 | 91 | 0 | 12.323
[6 empty] | 2022 | 12005 | 4214.4 | 8584 | 20049 | 9.255 | 13541.94 | 238353 | 91.2 | 0 | 13.254
[5 empty] | Forecast | 2023 |  | 4544 | 8943.357 | 20049 | 9.1478 | 13623.27 | 239793.2 | 91.4 | 0 | 13.86
[5 empty] | Forecast | 2024 |  | 4535 | 9349.65 | 20049 | 9.5511 | 13648.19 | 241444.6 | 91.6 | 0 | 15.7
[5 empty] | Forecast | 2025 |  | 4527 | 9771.815 | 20061.9 | 9.8602 | 13775.18 | 243222.5 | 91.8 | 0 | 16.13
[5 empty] | Forecast | 2026 |  | 4518 | 10193.52 | 20074.54 | 9.9288 | 13871.77 | 244965.7 | 92 | 0 | 16.4
[5 empty] | Forecast | 2027 |  | 4509 | 10530.8 | 20086.43 | 9.9423 | 13996.21 | 246603.8 | 92.2 | 0 | 17.03
[5 empty] | Forecast | 2028 |  | 4501 | 10809.57 | 20098.37 | 9.9656 | 14230.13 | 248250.1 | 92.4 | 0 | 17.92
[5 empty] | Forecast | 2029 |  | 4492 | 11034.69 | 20110.23 | 9.9929 | 14428.33 | 249884.1 | 92.6 | 0 | 18.66
[5 empty] | Forecast | 2030 |  | 4484 | 11254.92 | 20121.93 | 10.0132 | 14619.27 | 251496.7 | 92.8 | 0 | 19.15
[5 empty] | Forecast | 2031 |  | 4475 | 11291.99 | 20133.34 | 10.0642 | 14626.14 | 253069.6 | 93 | 0 | 19.4
[5 empty] | Forecast | 2032 |  | 4466 | 11328.43 | 20145.13 | 10.1131 | 14846.45 | 254694.4 | 93.2 | 0 | 19.64
[5 empty] | Forecast | 2033 |  | 4458 | 11363.9 | 20157.05 | 10.1653 | 14977.01 | 256337.6 | 93.4 | 0 | 19.88
[5 empty] | Forecast | 2034 |  | 4449 | 11398.2 | 20168.9 | 10.2156 | 15014.7 | 257971.7 | 93.6 | 0 | 20.12
[5 empty] | Source: | History: | NLH | Environment Canada | NLH | NLH | NP | Statistic's Canada | NP | NLH | NLH | NLH
[6 empty] | Forecast: | Model Output | NLH | Model Output | Model Output | Model Output | NL Gov, Dept. of Finance | Model Output | NLH | NLH | NLH
Accelerated Decarbonization Case -Forecast Values Used as Inputs
[8 empty] | DDAYSTV | TROALDOM | TROTOTDCUST | AAEHTMPAT | HHDINC2002 | NPTOTDCUST | EHWSRSCADJ | DUM06 | TECHCGE09
[5 empty] | Forecast | 2023 |  | 4544 | 8943.359 | 20049 | 9.1478 | 13649.35 | 239775.9 | 91.4 | 0 | 13.86
[5 empty] | Forecast | 2024 |  | 4535 | 9360.699 | 20049 | 9.5511 | 13818.2 | 241469.1 | 91.6 | 0 | 15.7
[5 empty] | Forecast | 2025 |  | 4527 | 9788.094 | 20062.45 | 9.8602 | 14017.02 | 243323.5 | 91.8 | 0 | 16.13
[5 empty] | Forecast | 2026 |  | 4518 | 10214.71 | 20075.81 | 9.9288 | 14194.86 | 245164.6 | 92 | 0 | 16.4
[5 empty] | Forecast | 2027 |  | 4509 | 10630.29 | 20088.24 | 9.9423 | 14306.77 | 246878.2 | 92.2 | 0 | 17.03
[5 empty] | Forecast | 2028 |  | 4501 | 11029.1 | 20100.92 | 9.9656 | 14632.02 | 248625.4 | 92.4 | 0 | 17.92
[5 empty] | Forecast | 2029 |  | 4492 | 11411.86 | 20113.47 | 9.9874 | 14831.73 | 250355.3 | 92.6 | 0 | 18.66
[5 empty] | Forecast | 2030 |  | 4484 | 11779.05 | 20125.8 | 10.0132 | 15036.35 | 252055.7 | 92.8 | 0 | 19.15
[5 empty] | Forecast | 2031 |  | 4475 | 12125.8 | 20137.86 | 10.0589 | 15062.26 | 253717.3 | 93 | 0 | 19.4
[5 empty] | Forecast | 2032 |  | 4466 | 12457.93 | 20150.24 | 10.1079 | 15291.8 | 255423.7 | 93.2 | 0 | 19.64
[5 empty] | Forecast | 2033 |  | 4458 | 12775.92 | 20162.74 | 10.1601 | 15443.62 | 257146.5 | 93.4 | 0 | 19.88
[5 empty] | Forecast | 2034 |  | 4449 | 13084.09 | 20175.24 | 10.2104 | 15530.36 | 258870.3 | 93.6 | 0 | 20.12
Slow Decarbonization Case -Forecast Values Used as Inputs
[8 empty] | DDAYSTV | TROALDOM | TROTOTDCUST | AAEHTMPAT | HHDINC2002 | NPTOTDCUST | EHWSRSCADJ | DUM06 | TECHCGE09
[5 empty] | Forecast | 2023 |  | 4544 | 8920.557 | 20049 | 9.1478 | 13623.27 | 239603.5 | 91.4 | 0 | 13.89
[5 empty] | Forecast | 2024 |  | 4535 | 9239.257 | 20049 | 9.6848 | 13648.19 | 240991.7 | 91.6 | 0 | 15.76
[5 empty] | Forecast | 2025 |  | 4527 | 9539.545 | 20059.72 | 10.0658 | 13775.18 | 242469.7 | 91.8 | 0 | 16.22
[5 empty] | Forecast | 2026 |  | 4518 | 9816.25 | 20070.47 | 10.2062 | 13871.77 | 243951.8 | 92 | 0 | 16.71
[5 empty] | Forecast | 2027 |  | 4509 | 10071.97 | 20080.85 | 10.2915 | 13996.21 | 245381.8 | 92.2 | 0 | 17.41
[5 empty] | Forecast | 2028 |  | 4501 | 10311.42 | 20091.25 | 10.3877 | 14230.13 | 246814.9 | 92.4 | 0 | 18.6
[5 empty] | Forecast | 2029 |  | 4492 | 10545.37 | 20101.48 | 10.4889 | 14428.33 | 248225.6 | 92.6 | 0 | 19.16
[5 empty] | Forecast | 2030 |  | 4484 | 10773.74 | 20111.54 | 10.5836 | 14619.27 | 249612.8 | 92.8 | 0 | 19.98
[5 empty] | Forecast | 2031 |  | 4475 | 10808.96 | 20121.45 | 10.7119 | 14626.14 | 250978.6 | 93 | 0 | 20.29
[5 empty] | Forecast | 2032 |  | 4466 | 10843.04 | 20131.64 | 10.8391 | 14846.45 | 252382.1 | 93.2 | 0 | 20.6
[5 empty] | Forecast | 2033 |  | 4458 | 10875.76 | 20142.01 | 10.9712 | 14977.01 | 253812.1 | 93.4 | 0 | 20.92
[5 empty] | Forecast | 2034 |  | 4449 | 10907.03 | 20152.44 | 11.1024 | 15014.7 | 255250.3 | 93.6 | 0 | 21.23

## NLH Rural GS
Dependent Variable: TROTOTGS | NLH rural island interconnected total general service sales (GWh)
Method: Least Squares | [6 empty] | Data Series - Reference Case Forecast
Date: 06/04/23 Time: 14:03 | [6 empty] | TROTOTGS | DDAYSTV | SGSSPBT | EHMSSAT2 | HHDINC2002 | FISHLANDINGS | DUMSTANT | TROGOLD3 | DUM09 | TECHCGE91
Sample (adjusted): 1977 2022 | [5 empty] | 1977 | 26.5 | 4882 | 12.75 | 11 | 5786.4 | 392.8 | 0 | 0 | 0 | 0
Included observations: 46 after adjustments | [5 empty] | 1978 | 34.24 | 5071 | 13.64 | 12 | 5888.8 | 464 | 0 | 0 | 0 | 0
[6 empty] | 1979 | 35.78 | 4399 | 13.5 | 13 | 6072.2 | 569.1 | 0 | 0 | 0 | 0
Variable | Coefficient | Std. Error | t-Statistic | Prob. |  | 1980 | 39.87 | 4951 | 12.71 | 14 | 5916.8 | 499.2 | 0 | 0 | 0 | 0
[6 empty] | 1981 | 41.36 | 4285 | 11.37 | 15 | 6229.8 | 498.7 | 0 | 0 | 0 | 0
HHDINC2002 | 0.004952 | 0.001067 | 4.6389 | 0 |  | 1982 | 46.1 | 5074 | 11.28 | 16 | 6311.1 | 504.5 | 0 | 0 | 0 | 0
SGSSPBT | -2.8556 | 0.45166 | -6.3224 | 0 |  | 1983 | 43.65 | 4400 | 11.04 | 17 | 6117 | 455.8 | 0 | 0 | 0 | 0
DDAYSTV*EHMSSAT2 | 0.000477 | 4.07e-05 | 11.7181 | 0 |  | 1984 | 50.76 | 4717 | 11.35 | 18 | 6222.4 | 449.3 | 0 | 0 | 0 | 0
FISHLANDINGS | 0.02607 | 0.007602 | 3.4294 | 0.0015 |  | 1985 | 55.87 | 5178 | 12.21 | 19 | 6472.8 | 468.2 | 0 | 0 | 0 | 0
DUMSTANT | 23.1476 | 1.6192 | 14.2957 | 0 |  | 1986 | 58.7 | 5092 | 11.86 | 20 | 6706.7 | 515.5 | 0 | 0 | 0 | 0
TROGOLD3 | 6.7615 | 1.0501 | 6.4388 | 0 |  | 1987 | 62.75 | 4753 | 11.45 | 21 | 7268.4 | 496.518 | 0 | 0 | 0 | 0
DUM09 | -9.2484 | 4.0361 | -2.2914 | 0.0276 |  | 1988 | 73 | 4931 | 11.27 | 22 | 7761.9 | 543.475 | 0 | 0 | 0 | 0
TECHCGE91 | -0.75107 | 0.31961 | -2.3499 | 0.0241 |  | 1989 | 78.1 | 4999 | 10.54 | 23 | 8011.8 | 581.1029 | 0 | 0 | 0 | 0
[6 empty] | 1990 | 83.2 | 5116 | 10.58 | 24 | 8054.1 | 533.497 | 0 | 0 | 0 | 0
R-squared | 0.99496 |  |  |  |  | 1991 | 86.9 | 5031 | 10.51 | 25 | 7966.8 | 412.336 | 0 | 0 | 0 | 1
Adjusted R-squared | 0.99403 |  |  |  |  | 1992 | 83.3 | 5395 | 10.62 | 26 | 8132.5 | 275.77 | 0 | 0 | 0 | 2
S.E. of regression | 3.8895 |  |  |  |  | 1993 | 79.9 | 5165 | 10.52 | 27 | 8091.1 | 238.808 | 0 | 0 | 0 | 3
[6 empty] | 1994 | 79.4 | 5075 | 10.44 | 28 | 8251.7 | 125.597 | 0 | 0 | 0 | 4
[6 empty] | 1995 | 76.2 | 4885 | 10.33 | 29 | 8037.1 | 129.656 | 0 | 0 | 0 | 5
[6 empty] | 1996 | 91.9 | 4631 | 10.19 | 30 | 7867.3 | 181.481 | 0.5 | 0.1 | 0 | 6
[6 empty] | 1997 | 111.9 | 5092 | 9.8 | 30 | 7669.6 | 203.528 | 1 | 1 | 0 | 7
[6 empty] | 1998 | 120.8 | 4468 | 9.66 | 30 | 7765.4 | 251.1 | 2 | 1.12 | 0 | 8
[6 empty] | 1999 | 131.2 | 4219 | 9.72 | 30 | 8084.2 | 270.62 | 2 | 1.26 | 0 | 9
[6 empty] | 2000 | 139.9 | 4515 | 9.48 | 30 | 8149.1 | 275 | 2 | 1.29 | 0 | 10
[6 empty] | 2001 | 132.551 | 4528 | 9.23 | 31 | 8548.6 | 266 | 2 | 1.02 | 0 | 11
Variable Descriptions | [5 empty] | 2002 | 140.42 | 5028 | 9.06 | 32 | 8671 | 274.3 | 2 | 0.68 | 0 | 12
[6 empty] | 2003 | 144.16 | 4702 | 8.88 | 33 | 8638.5 | 306.1 | 2 | 0.59 | 0 | 13
HHDINC2002 | Household disposable income (2002$) |  |  |  |  | 2004 | 141.55 | 4751 | 9.37 | 34 | 8635.5 | 353.6 | 2 | 0.4 | 0 | 14
SGSSPBT | Before tax small geneal service electricity price - Island interconnected system. |  |  |  |  | 2005 | 134.25 | 4507 | 9.67 | 35 | 8597.6 | 354.3 | 2 | 0.07 | 0 | 15
DDAYSTV | Heating degree days recorded at Stephenville airport. |  |  |  |  | 2006 | 133.93 | 4141.1 | 9.96 | 35 | 9157.1 | 371 | 2 | 0.06 | 0 | 16
EHMSSAT2 | Variable for electric heat saturation level. |  |  |  |  | 2007 | 145.42 | 4782.9 | 9.91 | 35 | 9835.3 | 353.6 | 2 | 0.95 | 0 | 17
FISHLANDINGS | NL fish landings. |  |  |  |  | 2008 | 151.84 | 4450.1 | 9.67 | 35 | 10364 | 346.9 | 2 | 1.49 | 0 | 18
DUMSTANT | Variable to account for significant load interconnection. |  |  |  |  | 2009 | 146.73 | 4695.4 | 9.76 | 35 | 11110.8 | 326.5 | 2 | 1.46 | 1 | 19
TROGOLD3 | Variable to account for significant mining load activity. |  |  |  |  | 2010 | 143.26 | 4063.6 | 9.45 | 35 | 11434.41 | 337.2 | 2 | 1.12 | 0 | 20
DUM09 | Dummy variable for 2009 |  |  |  |  | 2011 | 151.12 | 4389.2 | 9.51 | 35 | 11813.84 | 298.2 | 2 | 1.68 | 0 | 21
TECHCGE91 | Linear trend variable to capture technology changes and efficiency changes beginning in 1991. |  |  |  |  | 2012 | 163.46 | 4125.8 | 9.94 | 35 | 12357.55 | 291.7 | 2 | 2.67 | 0 | 22
[6 empty] | 2013 | 169.72 | 4494.5 | 9.79 | 35 | 12738.89 | 306.2 | 2 | 3.26 | 0 | 23
[6 empty] | 2014 | 169.34 | 4690.6 | 9.19 | 35 | 12903.43 | 262.5 | 2 | 3.4 | 0 | 24
[6 empty] | 2015 | 171.92 | 4914.8 | 9.09 | 35 | 13166.67 | 276.293 | 2 | 3.52 | 0 | 25
[6 empty] | 2016 | 177.42 | 4658 | 8.29 | 35 | 12604.53 | 256.9228 | 2 | 3.73 | 0 | 26
[6 empty] | 2017 | 183.172 | 4572 | 7.96 | 35 | 12426.68 | 217.0326 | 2 | 4.29 | 0 | 27
[6 empty] | 2018 | 180.844 | 4791.9 | 8.46 | 35 | 12430.75 | 215.407 | 2 | 4.79 | 0 | 28
[6 empty] | 2019 | 186.678 | 4959.7 | 8.77 | 35 | 12525.48 | 229.955 | 2 | 5.0644 | 0 | 29
[6 empty] | 2020 | 168.665 | 4650.6 | 9.25 | 35 | 12848.85 | 183.437 | 2 | 4.6401 | 0 | 30
[6 empty] | 2021 | 169.07 | 4212.1 | 9.05 | 35 | 13329.65 | 203.001 | 2 | 4.5821 | 0 | 31
[6 empty] | 2022 | 176.5 | 4214.4 | 8.53 | 35 | 13541.94 | 221.075 | 2 | 4.8597 | 0 | 32
[5 empty] | Forecast | 2023 |  | 4544 | 8.4312 | 35 | 13623.27 | 243.6977 | 2 | 2.0223 | 0 | 33
[5 empty] | Forecast | 2024 |  | 4535 | 8.8029 | 35 | 13648.19 | 249.1204 | 2 | 0.64574 | 0 | 34
[5 empty] | Forecast | 2025 |  | 4527 | 9.0878 | 35 | 13775.18 | 281.4243 | 2 | 0.53395 | 0 | 35
[5 empty] | Forecast | 2026 |  | 4518 | 9.151 | 35 | 13871.77 | 296.0459 | 2 | 0.32551 | 0 | 36
[5 empty] | Forecast | 2027 |  | 4509 | 9.1634 | 35 | 13996.21 | 323.0377 | 2 | 0.32551 | 0 | 37
[5 empty] | Forecast | 2028 |  | 4501 | 9.185 | 35 | 14230.13 | 323.038 | 2 | 0.32551 | 0 | 38
[5 empty] | Forecast | 2029 |  | 4492 | 9.2101 | 35 | 14428.33 | 330.3587 | 2 | 0.32551 | 0 | 39
[5 empty] | Forecast | 2030 |  | 4484 | 9.2288 | 35 | 14619.27 | 351.0058 | 2 | 0.32551 | 0 | 40
[5 empty] | Forecast | 2031 |  | 4475 | 9.2758 | 35 | 14626.14 | 350.6982 | 2 | 0.32551 | 0 | 41
[5 empty] | Forecast | 2032 |  | 4466 | 9.3209 | 35 | 14846.45 | 369.699 | 2 | 0.32551 | 0 | 42
[5 empty] | Forecast | 2033 |  | 4458 | 9.369 | 35 | 14977.01 | 384.699 | 2 | 0.32551 | 0 | 43
[5 empty] | Forecast | 2034 |  | 4449 | 9.4153 | 35 | 15014.7 | 394.699 | 2 | 0.32551 | 0 | 44
[5 empty] | Source: | History: | NLH | Environment Canada | NLH | NLH | Statistic's Canada | NL Gov, Dept. of Finance | NLH | NLH | NLH | NLH
[6 empty] | Forecast: | Model Output | NLH | NLH | NLH | NL Gov, Dept. of Finance | NL Gov, Dept. of Finance | NLH | NLH | NLH | NLH
Accelerated Decarbonization Case -Forecast Values Used as Inputs
[8 empty] | DDAYSTV | SGSSPBT | EHMSSAT2 | HHDINC2002 | FISHLANDINGS | DUMSTANT | TROGOLD3 | DUM09 | TECHCGE91
[5 empty] | Forecast | 2023 |  | 4544 | 8.4312 | 35 | 13649.35 | 243.6977 | 2 | 3.9113 | 0 | 33
[5 empty] | Forecast | 2024 |  | 4535 | 8.8029 | 35 | 13818.2 | 249.1204 | 2 | 3.8011 | 0 | 34
[5 empty] | Forecast | 2025 |  | 4527 | 9.0878 | 35 | 14017.02 | 281.4243 | 2 | 3.6893 | 0 | 35
[5 empty] | Forecast | 2026 |  | 4518 | 9.151 | 35 | 14194.86 | 296.0459 | 2 | 3.6893 | 0 | 36
[5 empty] | Forecast | 2027 |  | 4509 | 9.1634 | 35 | 14306.77 | 323.0377 | 2 | 3.6893 | 0 | 37
[5 empty] | Forecast | 2028 |  | 4501 | 9.185 | 35 | 14632.02 | 323.038 | 2 | 3.7112 | 0 | 38
[5 empty] | Forecast | 2029 |  | 4492 | 9.205 | 35 | 14831.73 | 330.3587 | 2 | 3.7112 | 0 | 39
[5 empty] | Forecast | 2030 |  | 4484 | 9.2288 | 35 | 15036.35 | 351.0058 | 2 | 3.7112 | 0 | 40
[5 empty] | Forecast | 2031 |  | 4475 | 9.2709 | 35 | 15062.26 | 350.6982 | 2 | 3.7112 | 0 | 41
[5 empty] | Forecast | 2032 |  | 4466 | 9.3161 | 35 | 15291.8 | 369.699 | 2 | 3.7112 | 0 | 42
[5 empty] | Forecast | 2033 |  | 4458 | 9.3642 | 35 | 15443.62 | 384.699 | 2 | 3.7112 | 0 | 43
[5 empty] | Forecast | 2034 |  | 4449 | 9.4106 | 35 | 15530.36 | 394.699 | 2 | 3.7112 | 0 | 44
Slow Decarbonization Case -Forecast Values Used as Inputs
[8 empty] | DDAYSTV | SGSSPBT | EHMSSAT2 | HHDINC2002 | FISHLANDINGS | DUMSTANT | TROGOLD3 | DUM09 | TECHCGE91
[5 empty] | Forecast | 2023 |  | 4544 | 8.4312 | 35 | 13623.27 | 243.6977 | 2 | 2.0223 | 0 | 33
[5 empty] | Forecast | 2024 |  | 4535 | 8.9261 | 35 | 13648.19 | 249.1204 | 2 | 0.64574 | 0 | 34
[5 empty] | Forecast | 2025 |  | 4527 | 9.2773 | 35 | 13775.18 | 281.4243 | 2 | 0.53395 | 0 | 35
[5 empty] | Forecast | 2026 |  | 4518 | 9.4067 | 35 | 13871.77 | 296.0459 | 2 | 0.32551 | 0 | 36
[5 empty] | Forecast | 2027 |  | 4509 | 9.4853 | 35 | 13996.21 | 323.0377 | 2 | 0.32551 | 0 | 37
[5 empty] | Forecast | 2028 |  | 4501 | 9.574 | 35 | 14230.13 | 323.038 | 2 | 0.32551 | 0 | 38
[5 empty] | Forecast | 2029 |  | 4492 | 9.6672 | 35 | 14428.33 | 330.3587 | 2 | 0.32551 | 0 | 39
[5 empty] | Forecast | 2030 |  | 4484 | 9.7545 | 35 | 14619.27 | 351.0058 | 2 | 0.32551 | 0 | 40
[5 empty] | Forecast | 2031 |  | 4475 | 9.8728 | 35 | 14626.14 | 350.6982 | 2 | 0.32551 | 0 | 41
[5 empty] | Forecast | 2032 |  | 4466 | 9.99 | 35 | 14846.45 | 369.699 | 2 | 0.32551 | 0 | 42
[5 empty] | Forecast | 2033 |  | 4458 | 10.1117 | 35 | 14977.01 | 384.699 | 2 | 0.32551 | 0 | 43
[5 empty] | Forecast | 2034 |  | 4449 | 10.2327 | 35 | 15014.7 | 394.699 | 2 | 0.32551 | 0 | 44

## NP System Peak
Dependent Variable: NPWPEAKWC |  | Winter peak demand for Newfoundland Power system (MW)
Method: Least Squares | [6 empty] | Data Series - Reference Case Forecast
Date: 06/05/23 Time: 10:46 | [6 empty] | NPWPEAKWC | NPRDCUST | NPAEDCUST | WCHYBRIDT12 | AAEHTMPAT | NPTOTGSWA-EV_NPGS-MUN | TECHCGE90 | DECPEAK
Sample: 1976 2022 | [5 empty] | 1976 | 585.4 | 88650 | 29643 | -27.5 | 5.56 | 909.1 | 0 | 1
Included observations: 47 | [5 empty] | 1977 | 584.2 | 88855 | 34015 | -21.5 | 5.98 | 1036.8 | 0 | 1
[6 empty] | 1978 | 639.9 | 88889 | 36832 | -20.7 | 6.7 | 1117.6 | 0 | 1
Variable | Coefficient | Std. Error | t-Statistic | Prob. |  | 1979 | 664.1 | 89107 | 39673 | -23.1 | 6.96 | 1184.2 | 0 | 1
[6 empty] | 1980 | 662.7 | 89322 | 42698 | -22.9 | 6.94 | 1237.2 | 0 | 1
NPRDCUST | 0.001161 | 0.000825 | 1.4062 | 0.1674 |  | 1981 | 716.2 | 88993 | 46139 | -25.4 | 6.66 | 1247.1 | 0 | 0
NPAEDCUST | 0.004076 | 0.001151 | 3.5421 | 0.001 |  | 1982 | 731.8 | 88202 | 49074 | -25.2 | 7.65 | 1257.9 | 0 | 0
WCHYBRIDT12^2 | 0.16173 | 0.020114 | 8.0407 | 0 |  | 1983 | 742.6 | 88184 | 52484 | -21.6 | 7.8 | 1258.3 | 0 | 1
AAEHTMPAT | -25.4993 | 7.9376 | -3.2125 | 0.0026 |  | 1984 | 833.8 | 87588 | 56119 | -32 | 8.12 | 1334.4 | 0 | 1
NPTOTGSWA-EV_NPGS-MUN | 0.39819 | 0.066337 | 6.0025 | 0 |  | 1985 | 825.6 | 86822 | 59833 | -30.4 | 9.25 | 1374.36 | 0 | 0
DECPEAK | 21.5771 | 10.7964 | 1.9985 | 0.0525 |  | 1986 | 847.8 | 86306 | 63465 | -29.5 | 8.73 | 1425.521 | 0 | 1
TECHCGE90 | -3.7846 | 2.2658 | -1.6703 | 0.1027 |  | 1987 | 886 | 86049 | 67026 | -28.1 | 8.44 | 1491.286 | 0 | 0
[6 empty] | 1988 | 957.3 | 85891 | 71016 | -30.8 | 8.29 | 1602.307 | 0 | 0
R-squared | 0.98918 |  |  |  |  | 1989 | 1068.7 | 85869 | 74668 | -36.7 | 7.74 | 1669.331 | 0 | 0
Adjusted R-squared | 0.98756 |  |  |  |  | 1990 | 1041.4 | 86139 | 77880 | -29 | 7.66 | 1737.165 | 1 | 0
S.E. of regression | 27.3562 |  |  |  |  | 1991 | 1087.7 | 86609 | 80608 | -30.6 | 8.12 | 1711.484 | 2 | 0
[6 empty] | 1992 | 1014.9 | 87395 | 83023 | -28.5 | 8.15 | 1708.235 | 3 | 0
[6 empty] | 1993 | 1085.873 | 88261 | 85260 | -34.7 | 8.06 | 1721.813 | 4 | 0
[6 empty] | 1994 | 1019.266 | 89385 | 87495 | -22.8 | 7.99 | 1737.261 | 5 | 0
[6 empty] | 1995 | 1110.2 | 88000 | 89731 | -29.5 | 7.88 | 1743.137 | 6 | 0
[6 empty] | 1996 | 1065.397 | 87408 | 91967 | -20 | 7.77 | 1752.027 | 7 | 1
[6 empty] | 1997 | 1049.043 | 86383 | 94785 | -27.9 | 8.23 | 1732.789 | 8 | 0
[6 empty] | 1998 | 1028.83 | 86218 | 96106 | -16.1 | 8.36 | 1752.1 | 9 | 1
Variable Descriptions | [5 empty] | 1999 | 1001.871 | 87174 | 96747 | -20.7 | 8.3 | 1792.5 | 10 | 0
[6 empty] | 2000 | 1025.481 | 86882 | 98405 | -16.8 | 8.119 | 1812.4 | 11 | 1
NPRDCUST | Newfoundland Power residential customers coded as non-electric heat. |  |  |  |  | 2001 | 1179.423 | 86345 | 100483 | -31.9 | 7.962 | 1856.8 | 12 | 0
NPAEDCUST | Newfoundland Power residential customers coded as electric heat. |  |  |  |  | 2002 | 1120.263 | 85855 | 103070 | -27.4 | 7.817 | 1886.1 | 13 | 0
WCHYBRIDT12 | Wind Chill conditions during winter peak. |  |  |  |  | 2003 | 1099.463 | 85177 | 106137 | -24.3 | 7.893 | 1937.174 | 14 | 0
AAEHTMPAT | After tax marginal electricity price $2002 - Island interconnected system. |  |  |  |  | 2004 | 1170.755 | 84359 | 109553 | -20.6 | 8.344 | 1970.53 | 15 | 1
NPTOTGSWA-EV_NPGS-MUN | Newfoundland Power total general service sales (weather normalized) excluding energy associated with electric vehicle charging and additional sales to Memorial University for the converison to electric boilers. |  |  |  |  | 2005 | 1142.373 | 83719 | 112693 | -23.3 | 8.786 | 1981.333 | 16 | 0
TECHCGE90 | Linear trend variable to capture technology changes and efficiency changes beginning in 1990. |  |  |  |  | 2006 | 1151.268 | 83011 | 115557 | -18.1 | 9.085 | 1977.144 | 17 | 1
DECPEAK | Indicator variable for winter peaks occuring in the month of December |  |  |  |  | 2007 | 1191.549 | 82275 | 118770 | -26.1 | 9.018 | 2009.211 | 18 | 0
[6 empty] | 2008 | 1218.6 | 81276 | 122928 | -26.3 | 9.226 | 2035.971 | 19 | 0
[6 empty] | 2009 | 1217.88 | 80297 | 127038 | -24.4 | 9.141 | 2058.623 | 20 | 0
[6 empty] | 2010 | 1165.995 | 79346 | 131745 | -15.5 | 9.073 | 2069.531 | 21 | 0
[6 empty] | 2011 | 1251.018 | 78521 | 135994 | -19.7 | 9.134 | 2113.678 | 22 | 0
[6 empty] | 2012 | 1290.461 | 77589 | 140701 | -19.5 | 9.145 | 2166.49 | 23 | 0
[6 empty] | 2013 | 1407.565 | 76549 | 145446 | -32 | 9.214 | 2196.349 | 24 | 0
[6 empty] | 2014 | 1369.187 | 75586 | 149238 | -23.2 | 9.046 | 2261.647 | 25 | 0
[6 empty] | 2015 | 1367.034 | 73571 | 153884 | -21.3 | 9.181 | 2276.197 | 26 | 1
[6 empty] | 2016 | 1422.863 | 71615 | 158200 | -22.9 | 8.725 | 2260.53 | 27 | 0
[6 empty] | 2017 | 1362.039 | 69449 | 162190 | -18.5 | 8.615 | 2249.883 | 28 | 1
[6 empty] | 2018 | 1458.033 | 67449 | 165655 | -28.8 | 9.174 | 2249.432 | 29 | 0
[6 empty] | 2019 | 1355.675 | 65402 | 168730 | -25.1 | 9.573 | 2256.994 | 30 | 0
[6 empty] | 2020 | 1251.104 | 64216 | 171044 | -19.8 | 10.053 | 2156.403 | 31 | 0
[6 empty] | 2021 | 1344.84 | 63664 | 173132 | -21.248 | 9.825 | 2164.02 | 32 | 0
[6 empty] | 2022 | 1490.97 | 62883 | 175470 | -27 | 9.255 | 2210.644 | 33 | 0
[5 empty] | Forecast | 2023 |  |  |  | -25.4539 | 9.1478 |  | 34 | 0
[5 empty] | Forecast | 2024 |  |  |  | -25.4539 | 9.5511 |  | 35 | 0
[5 empty] | Forecast | 2025 |  |  |  | -25.4539 | 9.8602 |  | 36 | 0
[5 empty] | Forecast | 2026 |  |  |  | -25.4539 | 9.9288 |  | 37 | 0
[5 empty] | Forecast | 2027 |  |  |  | -25.4539 | 9.9423 |  | 38 | 0
[5 empty] | Forecast | 2028 |  |  |  | -25.4539 | 9.9656 |  | 39 | 0
[5 empty] | Forecast | 2029 |  |  |  | -25.4539 | 9.9929 |  | 40 | 0
[5 empty] | Forecast | 2030 |  |  |  | -25.4539 | 10.0132 |  | 40.5 | 0
[5 empty] | Forecast | 2031 |  |  |  | -25.4539 | 10.0642 |  | 41 | 0
[5 empty] | Forecast | 2032 |  |  |  | -25.4539 | 10.1131 |  | 41.5 | 0
[5 empty] | Forecast | 2033 |  |  |  | -25.4539 | 10.1653 |  | 42 | 0
[5 empty] | Forecast | 2034 |  |  |  | -25.4539 | 10.2156 |  | 42.5 | 0
[6 empty] | History: | NP/NLH | NP | NP | Environment Canada | NP | NP | NLH | NLH
[6 empty] | Forecast: | Model Output | Model Output | Model Output | NLH | NLH | Model Output | NLH | NLH
Accelerated Decarbonization Case -Forecast Values Used as Inputs
[8 empty] | NPRDCUST | NPAEDCUST | WCHYBRIDT12 | AAEHTMPAT |  | TECHCGE90 | DECPEAK
[5 empty] | Forecast | 2023 |  | 61015.57 | 178760.3 | -25.4539 | 9.1478 |  | 34 | 0
[5 empty] | Forecast | 2024 |  | 58787.71 | 182681.4 | -25.4539 | 9.5511 |  | 35 | 0
[5 empty] | Forecast | 2025 |  | 56622.75 | 186700.7 | -25.4539 | 9.8602 |  | 36 | 0
[5 empty] | Forecast | 2026 |  | 54462.04 | 190702.5 | -25.4539 | 9.9288 |  | 37 | 0
[5 empty] | Forecast | 2027 |  | 52344.54 | 194533.6 | -25.4539 | 9.9423 |  | 38 | 0
[5 empty] | Forecast | 2028 |  | 50327.06 | 198298.4 | -25.4539 | 9.9656 |  | 39 | 0
[5 empty] | Forecast | 2029 |  | 48397.78 | 201957.6 | -25.4539 | 9.9874 |  | 40 | 0
[5 empty] | Forecast | 2030 |  | 46551.91 | 205503.8 | -25.4539 | 10.0132 |  | 40.5 | 0
[5 empty] | Forecast | 2031 |  | 44755.59 | 208961.7 | -25.4539 | 10.0589 |  | 41 | 0
[5 empty] | Forecast | 2032 |  | 43042.95 | 212380.8 | -25.4539 | 10.1079 |  | 41.5 | 0
[5 empty] | Forecast | 2033 |  | 41407.91 | 215738.6 | -25.4539 | 10.1601 |  | 42 | 0
[5 empty] | Forecast | 2034 |  | 39824.41 | 219045.9 | -25.4539 | 10.2104 |  | 42.5 | 0
Slow Decarbonization Case -Forecast Values Used as Inputs
[8 empty] | NPRDCUST | NPAEDCUST | WCHYBRIDT12 | AAEHTMPAT |  | TECHCGE90 | DECPEAK
[5 empty] | Forecast | 2023 |  | 61116.1 | 178487.4 | -25.4539 | 9.1478 |  | 34 | 0
[5 empty] | Forecast | 2024 |  | 59398.2 | 181593.5 | -25.4539 | 9.6848 |  | 35 | 0
[5 empty] | Forecast | 2025 |  | 57884.4 | 184585.3 | -25.4539 | 10.0658 |  | 36 | 0
[5 empty] | Forecast | 2026 |  | 56509.6 | 187442.2 | -25.4539 | 10.2062 |  | 37 | 0
[5 empty] | Forecast | 2027 |  | 55250.5 | 190131.3 | -25.4539 | 10.2915 |  | 38 | 0
[5 empty] | Forecast | 2028 |  | 54090.6 | 192724.3 | -25.4539 | 10.3877 |  | 39 | 0
[5 empty] | Forecast | 2029 |  | 52966.2 | 195259.4 | -25.4539 | 10.4889 |  | 40 | 0
[5 empty] | Forecast | 2030 |  | 51876.3 | 197736.5 | -25.4539 | 10.5836 |  | 40.5 | 0
[5 empty] | Forecast | 2031 |  | 51810.1 | 199168.5 | -25.4539 | 10.7119 |  | 41 | 0
[5 empty] | Forecast | 2032 |  | 51758.7 | 200623.4 | -25.4539 | 10.8391 |  | 41.5 | 0
[5 empty] | Forecast | 2033 |  | 51722.7 | 202089.4 | -25.4539 | 10.9712 |  | 42 | 0
[5 empty] | Forecast | 2034 |  | 51700.6 | 203549.7 | -25.4539 | 11.1024 |  | 42.5 | 0